## Technical
Techno-economic feasibility assessment for a standalone hybrid energy system integrating renewable energy sources
Dibyendu Roy, Kumar Vijayalakshmi Shivaprasad*, Yaodong Wang, Anthony Paul Roskilly
Department of Engineering, Durham University, Durham, DH1 3LE, UK
Data: | Monthly average temperature , Wind speed, and Monthly average global horizontal irradiance (GHI) at the location are listed below.
Monthly average temperature at the location |  |  |  | Monthly average wind speed |  | Monthly average global horizontal irradiance (GHI)
| Month | Average temperature |  | Month | Average speed (m^2/s) | Month | Daily irradiation
|  | (°C) |  |  |  |  | (kWh/m^2/day)
| Jan | 20.34 |  | Jan | 3.98 | Jan | 4.52
| Feb | 23.63 |  | Feb | 3.95 | Feb | 5.17
| Mar | 27.54 |  | Mar | 5.06 | Mar | 5.89
| Apr | 29.34 |  | Apr | 6.62 | Apr | 6.17
| May | 29.77 |  | May | 6.65 | May | 5.91
| Jun | 29.32 |  | Jun | 7.44 | Jun | 4.35
| Jul | 28.53 |  | Jul | 7.36 | Jul | 4.07
| Aug | 28.3 |  | Aug | 6.47 | Aug | 4.03
| Sep | 28.14 |  | Sep | 5.45 | Sep | 4.14
| Oct | 27.33 |  | Oct | 3.86 | Oct | 4.57
| Nov | 24.4 |  | Nov | 3.77 | Nov | 4.41
| Dec | 20.96 |  | Dec | 4.04 | Dec | 4.36

## Economic
|  | Capital costs | [8 empty] | Replacement costs
| Components | [9 empty] | Components
| PV | WT | BG | BAT | CONV | Total |  |  |  |  | BG | BAT | CONV | Total
| ($) | ($) | ($) | ($) | ($) | ($) |  |  |  |  | ($) | ($) | ($) | ($)
System A | 226258.3 | 221760 | 20000 | 232800 | 36664.22 | 737482.52 |  |  |  | System A | 6695.74 | 379497.71 | 15555.67 | 401749.12
System B | 313902.05 |  | 20000 | 268560 | 28831.6 | 631293.65 |  |  |  | System B | 14550.31 | 490152.43 | 12232.49 | 516935.23
System C |  | 360360 | 20000 | 75120 | 40471.04 | 495951.04 |  |  |  | System C | 34147.43 | 271615.39 | 17170.8 | 322933.62
System D |  |  | 26666.67 | 129120 | 16349.14 | 172135.81 |  |  |  | System D | 69875.58 | 318799.13 | 6936.51 | 395611.22
[5 empty] | Operation and Management costs | [5 empty] | Fuel costs
Components
|  |  |  | PV | WT | BG | BAT | CONV | Total |  | ($)
|  |  |  | ($) | ($) | ($) | ($) | ($) | ($) | System A | 356508.85
|  |  | System A | 47431.75 | 36197.05 | 1494.42 | 25079.38 | 4739.77 | 114942.37 | System B | 560640.64
|  |  | System B |  | 65804.98 | 2319.2 | 28931.78 | 3727.21 | 100783.17 | System C | 1085840.72
|  |  | System C |  | 58820.2 | 4556.95 | 8092.63 | 5231.9 | 76701.68 | System D | 2038507.67
|  |  | System D |  |  | 8645.92 | 13910.01 | 2113.54 | 24669.47