# ANALYTICAL REPORT ICP-OES

Date	13th June 2016

Name	Matthew Wilson

Company / Institution	Durham University

| Sample Identification | Assay No. | Element | Results | Units |
| --- | --- | --- | --- | --- |
| 01/06/16_1 | 161563 | Pd | 0.2 | ppm |
| 01/06/16_2 | 161564 | Pd | 0.1 | ppm |
| 01/06/16_3 | 161565 | Pd | <0.1 | ppm |
| 01/06/16_4 | 161566 | Pd | 0.1 | ppm |
| 01/06/16_5 | 161567 | Pd | <0.1 | ppm |

Comments

Analyst 	Stephen Goodall