## data and analysis
wavenumber of dissociation laser from wavemeter / cm-1 | sqrt(available energy) / Joules^0.5 | Available energy to fragment / cm-1 | available energy to fragment / Joules | sqrt(available energy to fragment) / Joules^0.5 | maximum velocity of photofragment / m/s | velocity^2 / (m/s)^2 | radius of squashed photodissociation image / pixels | radius of middle slice of reconstructed image / pixels | radius of photodissociation image^2 / pixels^2 | radius of middle slice of reconstructed image^2 / pixels^2
25354.97 | 7.097e-10 | 110.177 | 2.1886e-21 | 4.6783e-11 | 174.8232 | 30563.1539 | 18.4 | 23.5 | 338.56 | 552.25
25471.43 | 7.1133e-10 | 226.637 | 4.5021e-21 | 6.7098e-11 | 250.7373 | 62869.2151 | 29.25 | 33.5 | 855.5625 | 1122.25
25621.87 | 7.1342e-10 | 377.077 | 7.4905e-21 | 8.6548e-11 | 323.4213 | 104601.345 | 37.4 | 43.6 | 1398.76 | 1900.96
25747.43 | 7.1517e-10 | 502.637 | 9.9848e-21 | 9.9924e-11 | 373.4056 | 139431.7507 | 44.6 | 50 | 1989.16 | 2500
energy needed for diss+molecules internal energy from literature / cm-1 | determined energy needed for diss+molecules internal energy / cm-1
25248.493 | 25244.793 | [6 empty] | Gaussian fitting parameters
Values above are within error considering error of both gradient and intercept |  | velocity^2/pixel^2 conversion factor | velocity/pixel conversion factor | Sqrt(Joules)/pixel conversion factor |  |  |  | a | 1130 | 1150 | 575 | 475
|  | 55.552 | 7.4529 | 1.9944e-12 |  |  |  | b | 108.9 | 119.7 | 126.2 | 135.8
| error | 0.60183 | 0.080742 | 2e-14 |  |  |  | c | 4.8 | 3.9 | 6 | 5.5
[8 empty] | a' | 1150 | 1245 | 660 | 600
[8 empty] | b' | 72.1 | 61.2 | 51.4 | 46.6
RAW DATA: | [7 empty] | c' | 3.9 | 3.5 | 4.1 | 4.4
pixel number |  | 25354.97 | 25471.43 |  | 25621.87 |  | 25747.43 |  | 25354.97 fit | 25471.43 fit | 25621.87 fit | 25747.43 fit
-287 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-286 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-285 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-284 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-283 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-282 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-281 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-280 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-279 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-278 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-277 |  | 0 | 0 |  | 0 |  | 2 |  | 0 | 0 | 0 | 0
-276 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-275 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-274 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-273 |  | 0 | 0 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-272 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-271 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-270 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-269 |  | 0 | 0 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-268 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-267 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-266 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-265 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-264 |  | 0 | 0 |  | 1 |  | 0 |  | 0 | 0 | 0 | 0
-263 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-262 |  | 0 | 0 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-261 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-260 |  | 0 | 0 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-259 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-258 |  | 0 | 0 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-257 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-256 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-255 |  | 1 | 0 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-254 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-253 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-252 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-251 |  | 0 | 0 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-250 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-249 |  | 0 | 0 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-248 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-247 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-246 |  | 0 | 0 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-245 |  | 0 | 0 |  | 1 |  | 0 |  | 0 | 0 | 0 | 0
-244 |  | 0 | 0 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-243 |  | 0 | 1 |  | 1 |  | 0 |  | 0 | 0 | 0 | 0
-242 |  | 0 | 0 |  | 1 |  | 1 |  | 0 | 0 | 0 | 0
-241 |  | 0 | 1 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-240 |  | 0 | 0 |  | 1 |  | 0 |  | 0 | 0 | 0 | 0
-239 |  | 0 | 1 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-238 |  | 0 | 0 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-237 |  | 0 | 0 |  | 1 |  | 0 |  | 0 | 0 | 0 | 0
-236 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-235 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-234 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-233 |  | 0 | 1 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-232 |  | 0 | 0 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-231 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-230 |  | 0 | 0 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-229 |  | 0 | 0 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-228 |  | 0 | 1 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-227 |  | 0 | 0 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-226 |  | 0 | 0 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-225 |  | 0 | 1 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-224 |  | 0 | 0 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-223 |  | 0 | 1 |  | 2 |  | 0 |  | 0 | 0 | 0 | 0
-222 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-221 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-220 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-219 |  | 0 | 0 |  | 1 |  | 1 |  | 0 | 0 | 0 | 0
-218 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-217 |  | 0 | 1 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-216 |  | 0 | 0 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-215 |  | 0 | 1 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-214 |  | 0 | 0 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-213 |  | 0 | 1 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-212 |  | 0 | 0 |  | 1 |  | 5 |  | 0 | 0 | 0 | 0
-211 |  | 1 | 0 |  | 0 |  | 3 |  | 0 | 0 | 0 | 0
-210 |  | 0 | 0 |  | 1 |  | 0 |  | 0 | 0 | 0 | 0
-209 |  | 0 | 1 |  | 1 |  | 3 |  | 0 | 0 | 0 | 0
-208 |  | 1 | 0 |  | 2 |  | 1 |  | 0 | 0 | 0 | 0
-207 |  | 0 | 0 |  | 2 |  | 2 |  | 0 | 0 | 0 | 0
-206 |  | 0 | 1 |  | 2 |  | 2 |  | 0 | 0 | 0 | 0
-205 |  | 0 | 1 |  | 0 |  | 2 |  | 0 | 0 | 0 | 0
-204 |  | 0 | 0 |  | 0 |  | 3 |  | 0 | 0 | 0 | 0
-203 |  | 1 | 0 |  | 1 |  | 3 |  | 0 | 0 | 0 | 0
-202 |  | 0 | 0 |  | 1 |  | 3 |  | 0 | 0 | 0 | 0
-201 |  | 0 | 0 |  | 3 |  | 3 |  | 0 | 0 | 0 | 0
-200 |  | 0 | 0 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-199 |  | 0 | 1 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-198 |  | 0 | 0 |  | 2 |  | 0 |  | 0 | 0 | 0 | 0
-197 |  | 0 | 0 |  | 2 |  | 5 |  | 0 | 0 | 0 | 0
-196 |  | 0 | 0 |  | 0 |  | 4 |  | 0 | 0 | 0 | 0
-195 |  | 1 | 1 |  | 1 |  | 1 |  | 0 | 0 | 0 | 0
-194 |  | 1 | 1 |  | 0 |  | 2 |  | 0 | 0 | 0 | 0
-193 |  | 0 | 1 |  | 0 |  | 3 |  | 0 | 0 | 0 | 0
-192 |  | 0 | 0 |  | 1 |  | 2 |  | 0 | 0 | 0 | 0
-191 |  | 0 | 2 |  | 1 |  | 0 |  | 0 | 0 | 0 | 0
-190 |  | 0 | 1 |  | 0 |  | 2 |  | 0 | 0 | 0 | 0
-189 |  | 1 | 0 |  | 0 |  | 3 |  | 0 | 0 | 0 | 0
-188 |  | 0 | 1 |  | 0 |  | 2 |  | 0 | 0 | 0 | 0
-187 |  | 1 | 1 |  | 1 |  | 4 |  | 0 | 0 | 0 | 0
-186 |  | 0 | 2 |  | 0 |  | 4 |  | 0 | 0 | 0 | 0
-185 |  | 0 | 0 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-184 |  | 0 | 0 |  | 0 |  | 2 |  | 0 | 0 | 0 | 0
-183 |  | 1 | 0 |  | 0 |  | 2 |  | 0 | 0 | 0 | 0
-182 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-181 |  | 0 | 0 |  | 0 |  | 2 |  | 0 | 0 | 0 | 0
-180 |  | 1 | 0 |  | 1 |  | 1 |  | 0 | 0 | 0 | 0
-179 |  | 0 | 0 |  | 1 |  | 1 |  | 0 | 0 | 0 | 0
-178 |  | 0 | 2 |  | 0 |  | 2 |  | 0 | 0 | 0 | 0
-177 |  | 1 | 0 |  | 2 |  | 1 |  | 0 | 0 | 0 | 0
-176 |  | 1 | 1 |  | 1 |  | 3 |  | 0 | 0 | 0 | 0
-175 |  | 0 | 0 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-174 |  | 1 | 2 |  | 2 |  | 1 |  | 0 | 0 | 0 | 0
-173 |  | 1 | 0 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-172 |  | 0 | 0 |  | 0 |  | 2 |  | 0 | 0 | 0 | 0
-171 |  | 0 | 2 |  | 0 |  | 3 |  | 0 | 0 | 0 | 0
-170 |  | 0 | 0 |  | 1 |  | 2 |  | 0 | 0 | 0 | 0
-169 |  | 1 | 0 |  | 1 |  | 2 |  | 0 | 0 | 0 | 0
-168 |  | 0 | 2 |  | 1 |  | 3 |  | 0 | 0 | 0 | 0
-167 |  | 0 | 1 |  | 0 |  | 7 |  | 0 | 0 | 0 | 0
-166 |  | 0 | 0 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-165 |  | 0 | 0 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-164 |  | 0 | 1 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-163 |  | 0 | 0 |  | 0 |  | 3 |  | 0 | 0 | 0 | 0
-162 |  | 0 | 0 |  | 1 |  | 3 |  | 0 | 0 | 0 | 0
-161 |  | 0 | 0 |  | 1 |  | 2 |  | 0 | 0 | 0 | 0
-160 |  | 1 | 0 |  | 1 |  | 3 |  | 0 | 0 | 0 | 0
-159 |  | 1 | 0 |  | 1 |  | 3 |  | 0 | 0 | 0 | 0
-158 |  | 0 | 0 |  | 2 |  | 3 |  | 0 | 0 | 0 | 0
-157 |  | 0 | 0 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-156 |  | 0 | 1 |  | 0 |  | 2 |  | 0 | 0 | 0 | 0
-155 |  | 0 | 0 |  | 1 |  | 0 |  | 0 | 0 | 0 | 0
-154 |  | 1 | 1 |  | 0 |  | 3 |  | 0 | 0 | 0 | 0
-153 |  | 0 | 2 |  | 1 |  | 1 |  | 0 | 0 | 0 | 0
-152 |  | 0 | 1 |  | 0 |  | 2 |  | 0 | 0 | 0 | 0
-151 |  | 0 | 0 |  | 0 |  | 2 |  | 0 | 0 | 0 | 0
-150 |  | 1 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-149 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-148 |  | 0 | 2 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-147 |  | 0 | 1 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-146 |  | 1 | 1 |  | 1 |  | 4 |  | 0 | 0 | 0 | 0
-145 |  | 0 | 3 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-144 |  | 2 | 0 |  | 2 |  | 1 |  | 0 | 0 | 0 | 0
-143 |  | 2 | 2 |  | 1 |  | 2 |  | 0 | 0 | 0 | 0
-142 |  | 1 | 1 |  | 1 |  | 2 |  | 0 | 0 | 0 | 0
-141 |  | 0 | 1 |  | 1 |  | 4 |  | 0 | 0 | 0 | 0
-140 |  | 0 | 1 |  | 0 |  | 1 |  | 0 | 0 | 0 | 0
-139 |  | 0 | 1 |  | 3 |  | 2 |  | 0 | 0 | 0 | 0
-138 |  | 0 | 0 |  | 1 |  | 0 |  | 0 | 0 | 0 | 0
-137 |  | 0 | 0 |  | 2 |  | 1 |  | 0 | 0 | 0 | 0
-136 |  | 0 | 0 |  | 0 |  | 3 |  | 0 | 0 | 0 | 0
-135 |  | 0 | 0 |  | 0 |  | 2 |  | 0 | 0 | 0 | 0
-134 |  | 0 | 0 |  | 0 |  | 2 |  | 0 | 0 | 0 | 0
-133 |  | 0 | 0 |  | 1 |  | 1 |  | 0 | 0 | 0 | 0
-132 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
-131 |  | 0 | 1 |  | 2 |  | 1 |  | 0 | 0 | 0 | 0
-130 |  | 0 | 1 |  | 0 |  | 3 |  | 0 | 0 | 0 | 0
-129 |  | 1 | 0 |  | 1 |  | 4 |  | 0 | 0 | 0 | 0
-128 |  | 0 | 0 |  | 0 |  | 3 |  | 0 | 0 | 0 | 0
-127 |  | 0 | 2 |  | 1 |  | 3 |  | 0 | 0 | 0 | 0
-126 |  | 1 | 0 |  | 0 |  | 3 |  | 0 | 0 | 0 | 0
-125 |  | 0 | 0 |  | 2 |  | 4 |  | 0 | 0 | 0 | 0
-124 |  | 0 | 0 |  | 0 |  | 2 |  | 0 | 0 | 0 | 0
-123 |  | 162 | 162 |  | 167 |  | 161 |  | 0 | 0 | 0 | 0
-122 |  | 0 | 1 |  | 0 |  | 3 |  | 0 | 0 | 0 | 0
-121 |  | 0 | 0 |  | 1 |  | 4 |  | 0 | 0 | 0 | 0
-120 |  | 0 | 2 |  | 2 |  | 0 |  | 0 | 0 | 0 | 0
-119 |  | 1 | 1 |  | 2 |  | 1 |  | 0 | 0 | 0 | 1.5488e-305
-118 |  | 0 | 0 |  | 6 |  | 4 |  | 0 | 0 | 0 | 7.8271e-302
-117 |  | 0 | 2 |  | 1 |  | 1 |  | 0 | 0 | 0 | 3.7565e-298
-116 |  | 0 | 0 |  | 0 |  | 5 |  | 0 | 0 | 0 | 1.7121e-294
-115 |  | 0 | 0 |  | 0 |  | 6 |  | 0 | 0 | 0 | 7.4106e-291
-114 |  | 2 | 0 |  | 1 |  | 3 |  | 0 | 0 | 0 | 3.0461e-287
-113 |  | 0 | 1 |  | 1 |  | 0 |  | 0 | 0 | 0 | 1.189e-283
-112 |  | 0 | 2 |  | 3 |  | 2 |  | 0 | 0 | 0 | 4.4077e-280
-111 |  | 0 | 2 |  | 1 |  | 3 |  | 0 | 0 | 0 | 1.5517e-276
-110 |  | 1 | 1 |  | 1 |  | 3 |  | 0 | 0 | 0 | 5.1875e-273
-109 |  | 0 | 0 |  | 2 |  | 2 |  | 0 | 0 | 0 | 1.647e-269
-108 |  | 0 | 0 |  | 0 |  | 2 |  | 0 | 0 | 0 | 4.9656e-266
-107 |  | 1 | 1 |  | 2 |  | 5 |  | 0 | 0 | 0 | 1.4218e-262
-106 |  | 0 | 1 |  | 4 |  | 2 |  | 0 | 0 | 0 | 3.866e-259
-105 |  | 1 | 1 |  | 1 |  | 4 |  | 0 | 0 | 0 | 9.9828e-256
-104 |  | 2 | 0 |  | 1 |  | 3 |  | 0 | 0 | 0 | 2.448e-252
-103 |  | 1 | 4 |  | 1 |  | 4 |  | 0 | 0 | 7.3934e-306 | 5.7009e-249
-102 |  | 2 | 2 |  | 5 |  | 3 |  | 0 | 0 | 6.9972e-302 | 1.2608e-245
-101 |  | 0 | 1 |  | 0 |  | 4 |  | 0 | 0 | 6.2398e-298 | 2.6479e-242
-100 |  | 0 | 2 |  | 3 |  | 3 |  | 0 | 0 | 5.243e-294 | 5.2812e-239
-99 |  | 1 | 1 |  | 2 |  | 9 |  | 0 | 0 | 4.151e-290 | 1.0003e-235
-98 |  | 1 | 0 |  | 2 |  | 5 |  | 0 | 0 | 3.0967e-286 | 1.7993e-232
-97 |  | 0 | 2 |  | 0 |  | 4 |  | 0 | 0 | 2.1767e-282 | 3.0734e-229
-96 |  | 0 | 0 |  | 3 |  | 2 |  | 0 | 0 | 1.4417e-278 | 4.9857e-226
-95 |  | 2 | 1 |  | 1 |  | 2 |  | 0 | 0 | 8.997e-275 | 7.6806e-223
-94 |  | 1 | 1 |  | 3 |  | 7 |  | 0 | 0 | 5.2905e-271 | 1.1236e-219
-93 |  | 0 | 1 |  | 2 |  | 4 |  | 0 | 0 | 2.9313e-267 | 1.5611e-216
-92 |  | 1 | 1 |  | 3 |  | 6 |  | 0 | 0 | 1.5303e-263 | 2.0597e-213
-91 |  | 1 | 0 |  | 0 |  | 2 |  | 0 | 0 | 7.5279e-260 | 2.5807e-210
-90 |  | 1 | 0 |  | 2 |  | 3 |  | 0 | 0 | 3.4892e-256 | 3.0707e-207
-89 |  | 3 | 0 |  | 1 |  | 3 |  | 0 | 0 | 1.5239e-252 | 3.4699e-204
-88 |  | 1 | 2 |  | 2 |  | 0 |  | 0 | 0 | 6.271e-249 | 3.7235e-201
-87 |  | 0 | 0 |  | 3 |  | 3 |  | 0 | 0 | 2.4315e-245 | 3.7946e-198
-86 |  | 0 | 1 |  | 3 |  | 3 |  | 0 | 0 | 8.8837e-242 | 3.6723e-195
-85 |  | 1 | 0 |  | 2 |  | 9 |  | 0 | 0 | 3.0583e-238 | 3.375e-192
-84 |  | 2 | 3 |  | 4 |  | 8 |  | 0 | 0 | 9.9201e-235 | 2.9457e-189
-83 |  | 0 | 2 |  | 1 |  | 3 |  | 0 | 0 | 3.0319e-231 | 2.4415e-186
-82 |  | 1 | 1 |  | 2 |  | 6 |  | 0 | 0 | 8.7316e-228 | 1.9218e-183
-81 |  | 0 | 2 |  | 3 |  | 11 |  | 0 | 0 | 2.3693e-224 | 1.4366e-180
-80 |  | 1 | 3 |  | 5 |  | 5 |  | 0 | 0 | 6.058e-221 | 1.0198e-177
-79 |  | 4 | 0 |  | 3 |  | 6 |  | 0 | 0 | 1.4595e-217 | 6.8746e-175
-78 |  | 3 | 1 |  | 3 |  | 2 |  | 0 | 0 | 3.313e-214 | 4.4011e-172
-77 |  | 0 | 5 |  | 6 |  | 5 |  | 0 | 0 | 7.0863e-211 | 2.6757e-169
-76 |  | 2 | 3 |  | 6 |  | 6 |  | 0 | 0 | 1.4282e-207 | 1.5449e-166
-75 |  | 2 | 0 |  | 3 |  | 9 |  | 1.3726e-306 | 0 | 2.7121e-204 | 8.4705e-164
-74 |  | 1 | 3 |  | 6 |  | 8 |  | 2.106e-302 | 0 | 4.8527e-201 | 4.4105e-161
-73 |  | 1 | 5 |  | 6 |  | 6 |  | 3.0255e-298 | 0 | 8.1816e-198 | 2.1809e-158
-72 |  | 1 | 4 |  | 4 |  | 8 |  | 4.0701e-294 | 0 | 1.2997e-194 | 1.0241e-155
-71 |  | 2 | 1 |  | 3 |  | 11 |  | 5.1268e-290 | 1.9741e-307 | 1.9455e-191 | 4.5672e-153
-70 |  | 1 | 6 |  | 8 |  | 11 |  | 6.0469e-286 | 9.2146e-303 | 2.744e-188 | 1.9342e-150
-69 |  | 3 | 6 |  | 1 |  | 6 |  | 6.6783e-282 | 3.964e-298 | 3.6466e-185 | 7.779e-148
-68 |  | 1 | 9 |  | 8 |  | 10 |  | 6.9064e-278 | 1.5716e-293 | 4.5663e-182 | 2.9711e-145
-67 |  | 3 | 5 |  | 5 |  | 4 |  | 6.6877e-274 | 5.7423e-289 | 5.3877e-179 | 1.0776e-142
-66 |  | 1 | 3 |  | 4 |  | 10 |  | 6.064e-270 | 1.9337e-284 | 5.9897e-176 | 3.7118e-140
-65 |  | 5 | 6 |  | 7 |  | 5 |  | 5.1485e-266 | 6.0011e-280 | 6.2745e-173 | 1.2142e-137
-64 |  | 2 | 5 |  | 3 |  | 13 |  | 4.0931e-262 | 1.7164e-275 | 6.1931e-170 | 3.7717e-135
-63 |  | 4 | 5 |  | 9 |  | 6 |  | 3.047e-258 | 4.5244e-271 | 5.7598e-167 | 1.1127e-132
-62 |  | 2 | 3 |  | 7 |  | 6 |  | 2.1239e-254 | 1.0991e-266 | 5.0474e-164 | 3.1171e-130
-61 |  | 4 | 4 |  | 2 |  | 8 |  | 1.3862e-250 | 2.4609e-262 | 4.1677e-161 | 8.2931e-128
-60 |  | 4 | 5 |  | 5 |  | 5 |  | 8.4722e-247 | 5.0777e-258 | 3.2425e-158 | 2.0953e-125
-59 |  | 3 | 2 |  | 9 |  | 9 |  | 4.8484e-243 | 9.6561e-254 | 2.3771e-155 | 5.0274e-123
-58 |  | 0 | 4 |  | 4 |  | 5 |  | 2.5981e-239 | 1.6923e-249 | 1.6419e-152 | 1.1455e-120
-57 |  | 3 | 4 |  | 5 |  | 11 |  | 1.3036e-235 | 2.7334e-245 | 1.0687e-149 | 2.4788e-118
-56 |  | 3 | 5 |  | 6 |  | 11 |  | 6.1248e-232 | 4.0689e-241 | 6.5538e-147 | 5.0937e-116
-55 |  | 4 | 6 |  | 11 |  | 10 |  | 2.6945e-228 | 5.5821e-237 | 3.7871e-144 | 9.9402e-114
-54 |  | 2 | 3 |  | 6 |  | 4 |  | 1.11e-224 | 7.0577e-233 | 2.062e-141 | 1.8422e-111
-53 |  | 9 | 4 |  | 3 |  | 5 |  | 4.2816e-221 | 8.2239e-229 | 1.0579e-138 | 3.2421e-109
-52 |  | 4 | 3 |  | 8 |  | 11 |  | 1.5465e-217 | 8.8316e-225 | 5.1137e-136 | 5.4187e-107
-51 |  | 4 | 9 |  | 5 |  | 9 |  | 5.2302e-214 | 8.7407e-221 | 2.3292e-133 | 8.6006e-105
-50 |  | 1 | 6 |  | 9 |  | 11 |  | 1.6563e-210 | 7.9727e-217 | 9.9963e-131 | 1.2964e-102
-49 |  | 2 | 12 |  | 6 |  | 13 |  | 4.9115e-207 | 6.7021e-213 | 4.0424e-128 | 1.8557e-100
-48 |  | 7 | 5 |  | 8 |  | 7 |  | 1.3637e-203 | 5.1923e-209 | 1.5403e-125 | 2.5225e-98
-47 |  | 2 | 7 |  | 11 |  | 9 |  | 3.5456e-200 | 3.7073e-205 | 5.5301e-123 | 3.2564e-96
-46 |  | 5 | 7 |  | 11 |  | 7 |  | 8.6319e-197 | 2.4395e-201 | 1.8708e-120 | 3.9922e-94
-45 |  | 3 | 5 |  | 11 |  | 14 |  | 1.9677e-193 | 1.4794e-197 | 5.9633e-118 | 4.6479e-92
-44 |  | 5 | 7 |  | 7 |  | 7 |  | 4.2002e-190 | 8.2687e-194 | 1.7911e-115 | 5.1388e-90
-43 |  | 1 | 6 |  | 12 |  | 7 |  | 8.3951e-187 | 4.2592e-190 | 5.0687e-113 | 5.3956e-88
-42 |  | 5 | 7 |  | 13 |  | 10 |  | 1.5712e-183 | 2.0219e-186 | 1.3516e-110 | 5.3799e-86
-41 |  | 6 | 8 |  | 11 |  | 5 |  | 2.7534e-180 | 8.846e-183 | 3.396e-108 | 5.0943e-84
-40 |  | 4 | 14 |  | 9 |  | 13 |  | 4.5182e-177 | 3.5668e-179 | 8.0398e-106 | 4.581e-82
-39 |  | 4 | 6 |  | 14 |  | 10 |  | 6.9422e-174 | 1.3254e-175 | 1.7935e-103 | 3.9121e-80
-38 |  | 2 | 8 |  | 8 |  | 5 |  | 9.9882e-171 | 4.5392e-172 | 3.7696e-101 | 3.1726e-78
-37 |  | 3 | 5 |  | 11 |  | 14 |  | 1.3456e-167 | 1.4327e-168 | 7.4658e-99 | 2.4434e-76
-36 |  | 7 | 7 |  | 6 |  | 5 |  | 1.6975e-164 | 4.1675e-165 | 1.3932e-96 | 1.7871e-74
-35 |  | 11 | 12 |  | 12 |  | 11 |  | 2.0051e-161 | 1.1172e-161 | 2.4497e-94 | 1.2412e-72
-34 |  | 7 | 12 |  | 15 |  | 10 |  | 2.2177e-158 | 2.7603e-158 | 4.0587e-92 | 8.1873e-71
-33 |  | 5 | 11 |  | 12 |  | 9 |  | 2.2968e-155 | 6.2852e-155 | 6.336e-90 | 5.1285e-69
-32 |  | 5 | 13 |  | 12 |  | 12 |  | 2.2273e-152 | 1.3189e-151 | 9.32e-88 | 3.0507e-67
-31 |  | 11 | 17 |  | 20 |  | 21 |  | 2.0226e-149 | 2.5508e-148 | 1.2917e-85 | 1.7234e-65
-30 |  | 10 | 16 |  | 12 |  | 22 |  | 1.7197e-146 | 4.5466e-145 | 1.687e-83 | 9.2456e-64
-29 |  | 10 | 9 |  | 18 |  | 18 |  | 1.3692e-143 | 7.4686e-142 | 2.0758e-81 | 4.7104e-62
-28 |  | 9 | 16 |  | 17 |  | 15 |  | 1.0208e-140 | 1.1307e-138 | 2.4068e-79 | 2.279e-60
-27 |  | 9 | 11 |  | 25 |  | 19 |  | 7.1256e-138 | 1.5776e-135 | 2.6295e-77 | 1.0471e-58
-26 |  | 4 | 11 |  | 24 |  | 24 |  | 4.6577e-135 | 2.0285e-132 | 2.7068e-75 | 4.5689e-57
-25 |  | 13 | 10 |  | 16 |  | 15 |  | 2.8508e-132 | 2.4039e-129 | 2.6254e-73 | 1.8932e-55
-24 |  | 9 | 10 |  | 17 |  | 17 |  | 1.6338e-129 | 2.6255e-126 | 2.3995e-71 | 7.45e-54
-23 |  | 9 | 9 |  | 18 |  | 16 |  | 8.7678e-127 | 2.6427e-123 | 2.0663e-69 | 2.7841e-52
-22 |  | 10 | 17 |  | 16 |  | 25 |  | 4.4058e-124 | 2.4515e-120 | 1.6766e-67 | 9.8803e-51
-21 |  | 10 | 10 |  | 21 |  | 25 |  | 2.073e-121 | 2.0958e-117 | 1.2819e-65 | 3.3299e-49
-20 |  | 6 | 14 |  | 21 |  | 23 |  | 9.1335e-119 | 1.6513e-114 | 9.2345e-64 | 1.0657e-47
-19 |  | 8 | 12 |  | 13 |  | 23 |  | 3.768e-116 | 1.1991e-111 | 6.2683e-62 | 3.2393e-46
-18 |  | 11 | 19 |  | 17 |  | 27 |  | 1.4556e-113 | 8.0249e-109 | 4.0091e-60 | 9.3499e-45
-17 |  | 10 | 19 |  | 16 |  | 23 |  | 5.265e-111 | 4.9495e-106 | 2.4161e-58 | 2.5629e-43
-16 |  | 7 | 11 |  | 16 |  | 24 |  | 1.7833e-108 | 2.8134e-103 | 1.372e-56 | 6.6716e-42
-15 |  | 6 | 24 |  | 19 |  | 37 |  | 5.6556e-106 | 1.4738e-100 | 7.3407e-55 | 1.6493e-40
-14 |  | 8 | 21 |  | 20 |  | 22 |  | 1.6795e-103 | 7.1155e-98 | 3.7008e-53 | 3.8719e-39
-13 |  | 8 | 14 |  | 15 |  | 23 |  | 4.6703e-101 | 3.166e-95 | 1.758e-51 | 8.6322e-38
-12 |  | 7 | 17 |  | 17 |  | 24 |  | 1.216e-98 | 1.2983e-92 | 7.8687e-50 | 1.8276e-36
-11 |  | 9 | 10 |  | 26 |  | 33 |  | 2.9648e-96 | 4.9065e-90 | 3.3186e-48 | 3.6746e-35
-10 |  | 6 | 21 |  | 14 |  | 31 |  | 6.7685e-94 | 1.7089e-87 | 1.3188e-46 | 7.0164e-34
-9 |  | 9 | 9 |  | 16 |  | 23 |  | 1.4469e-91 | 5.4856e-85 | 4.938e-45 | 1.2723e-32
-8 |  | 13 | 18 |  | 15 |  | 21 |  | 2.8962e-89 | 1.6228e-82 | 1.7422e-43 | 2.1909e-31
-7 |  | 7 | 19 |  | 17 |  | 24 |  | 5.4283e-87 | 4.4245e-80 | 5.7918e-42 | 3.5828e-30
-6 |  | 7 | 15 |  | 13 |  | 24 |  | 9.5267e-85 | 1.1118e-77 | 1.8142e-40 | 5.564e-29
-5 |  | 13 | 14 |  | 18 |  | 26 |  | 1.5656e-82 | 2.5745e-75 | 5.3546e-39 | 8.2059e-28
-4 |  | 14 | 12 |  | 16 |  | 26 |  | 2.4091e-80 | 5.4946e-73 | 1.4891e-37 | 1.1493e-26
-3 |  | 8 | 17 |  | 24 |  | 21 |  | 3.4712e-78 | 1.0807e-70 | 3.9021e-36 | 1.5286e-25
-2 |  | 14 | 17 |  | 18 |  | 18 |  | 4.6832e-76 | 1.9591e-68 | 9.6345e-35 | 1.9308e-24
-1 |  | 15 | 10 |  | 25 |  | 19 |  | 5.9164e-74 | 3.2729e-66 | 2.2414e-33 | 2.316e-23
0 |  | 16 | 12 |  | 19 |  | 15 |  | 6.9988e-72 | 5.0391e-64 | 4.9135e-32 | 2.6383e-22
1 |  | 12 | 11 |  | 27 |  | 31 |  | 7.7524e-70 | 7.1504e-62 | 1.0149e-30 | 2.854e-21
2 |  | 15 | 17 |  | 16 |  | 21 |  | 8.0407e-68 | 9.3508e-60 | 1.9752e-29 | 2.932e-20
3 |  | 15 | 17 |  | 24 |  | 28 |  | 7.809e-66 | 1.127e-57 | 3.6221e-28 | 2.8605e-19
4 |  | 9 | 21 |  | 13 |  | 22 |  | 7.1015e-64 | 1.2518e-55 | 6.2586e-27 | 2.6503e-18
5 |  | 11 | 18 |  | 23 |  | 16 |  | 6.0471e-62 | 1.2814e-53 | 1.019e-25 | 2.3318e-17
6 |  | 14 | 16 |  | 11 |  | 23 |  | 4.8216e-60 | 1.2089e-51 | 1.5632e-24 | 1.9484e-16
7 |  | 15 | 12 |  | 17 |  | 19 |  | 3.5998e-58 | 1.0512e-49 | 2.2596e-23 | 1.5461e-15
8 |  | 11 | 12 |  | 13 |  | 18 |  | 2.5166e-56 | 8.4231e-48 | 3.0775e-22 | 1.165e-14
9 |  | 11 | 20 |  | 9 |  | 19 |  | 1.6474e-54 | 6.2205e-46 | 3.9495e-21 | 8.3372e-14
10 |  | 13 | 11 |  | 22 |  | 21 |  | 1.0098e-52 | 4.2337e-44 | 4.7759e-20 | 5.6659e-13
11 |  | 8 | 14 |  | 14 |  | 23 |  | 5.7958e-51 | 2.6556e-42 | 5.4415e-19 | 3.6566e-12
12 |  | 8 | 24 |  | 24 |  | 29 |  | 3.1149e-49 | 1.5352e-40 | 5.842e-18 | 2.2411e-11
13 |  | 13 | 10 |  | 15 |  | 16 |  | 1.5675e-47 | 8.1791e-39 | 5.9096e-17 | 1.3044e-10
14 |  | 7 | 21 |  | 21 |  | 20 |  | 7.3863e-46 | 4.016e-37 | 5.6328e-16 | 7.21e-10
15 |  | 10 | 23 |  | 20 |  | 20 |  | 3.2591e-44 | 1.8173e-35 | 5.0589e-15 | 3.7846e-09
16 |  | 13 | 14 |  | 20 |  | 21 |  | 1.3465e-42 | 7.5791e-34 | 4.281e-14 | 1.8866e-08
17 |  | 13 | 14 |  | 26 |  | 19 |  | 5.2091e-41 | 2.9131e-32 | 3.4135e-13 | 8.9308e-08
18 |  | 15 | 15 |  | 20 |  | 25 |  | 1.887e-39 | 1.0319e-30 | 2.5646e-12 | 4.015e-07
19 |  | 19 | 22 |  | 20 |  | 23 |  | 6.4007e-38 | 3.3686e-29 | 1.8156e-11 | 1.7141e-06
20 |  | 7 | 20 |  | 23 |  | 22 |  | 2.0329e-36 | 1.0135e-27 | 1.2111e-10 | 6.9496e-06
21 |  | 7 | 26 |  | 23 |  | 25 |  | 6.046e-35 | 2.8103e-26 | 7.6117e-10 | 2.6758e-05
22 |  | 11 | 25 |  | 20 |  | 25 |  | 1.6837e-33 | 7.1816e-25 | 4.5078e-09 | 9.7838e-05
23 |  | 13 | 16 |  | 25 |  | 23 |  | 4.3904e-32 | 1.6914e-23 | 2.5154e-08 | 0.00033973
24 |  | 15 | 16 |  | 22 |  | 27 |  | 1.072e-30 | 3.6711e-22 | 1.3226e-07 | 0.0011203
25 |  | 11 | 13 |  | 23 |  | 18 |  | 2.4509e-29 | 7.3436e-21 | 6.5523e-07 | 0.0035082
26 |  | 12 | 16 |  | 22 |  | 18 |  | 5.2469e-28 | 1.3538e-19 | 3.0587e-06 | 0.010433
27 |  | 15 | 14 |  | 28 |  | 20 |  | 1.0518e-26 | 2.3002e-18 | 1.3454e-05 | 0.029465
28 |  | 19 | 18 |  | 13 |  | 22 |  | 1.9743e-25 | 3.6019e-17 | 5.5758e-05 | 0.079025
29 |  | 12 | 23 |  | 19 |  | 24 |  | 3.47e-24 | 5.1979e-16 | 0.00021774 | 0.20128
30 |  | 13 | 16 |  | 16 |  | 17 |  | 5.7107e-23 | 6.9131e-15 | 0.00080119 | 0.48685
31 |  | 22 | 25 |  | 20 |  | 23 |  | 8.8005e-22 | 8.4736e-14 | 0.0027778 | 1.1183
32 |  | 18 | 26 |  | 17 |  | 17 |  | 1.2699e-20 | 9.5722e-13 | 0.0090745 | 2.4394
33 |  | 12 | 16 |  | 17 |  | 17 |  | 1.7158e-19 | 9.9656e-12 | 0.027933 | 5.0534
34 |  | 18 | 18 |  | 20 |  | 16 |  | 2.1708e-18 | 9.5618e-11 | 0.081016 | 9.9416
35 |  | 15 | 23 |  | 17 |  | 30 |  | 2.5718e-17 | 8.4552e-10 | 0.22141 | 18.5733
36 |  | 12 | 16 |  | 27 |  | 27 |  | 2.8528e-16 | 6.8906e-09 | 0.57013 | 32.9526
37 |  | 12 | 22 |  | 20 |  | 31 |  | 2.9633e-15 | 5.1753e-08 | 1.3833 | 55.5212
38 |  | 18 | 19 |  | 17 |  | 63 |  | 2.8821e-14 | 3.5823e-07 | 3.1625 | 88.8372
39 |  | 15 | 17 |  | 19 |  | 129 |  | 2.6248e-13 | 2.2853e-06 | 6.8126 | 134.9891
40 |  | 12 | 25 |  | 16 |  | 205 |  | 2.2384e-12 | 1.3436e-05 | 13.8278 | 194.7915
41 |  | 9 | 19 |  | 28 |  | 291 |  | 1.7874e-11 | 7.2799e-05 | 26.4461 | 266.9369
42 |  | 15 | 19 |  | 29 |  | 370 |  | 1.3364e-10 | 0.00036353 | 47.6576 | 347.3879
43 |  | 12 | 18 |  | 61 |  | 434 |  | 9.3567e-10 | 0.001673 | 80.9223 | 429.327
44 |  | 10 | 16 |  | 122 |  | 515 |  | 6.134e-09 | 0.0070961 | 129.4698 | 503.8824
45 |  | 12 | 14 |  | 181 |  | 536 |  | 3.7654e-08 | 0.027738 | 195.1791 | 561.6135
46 |  | 10 | 18 |  | 303 |  | 551 |  | 2.1644e-07 | 0.099927 | 277.2443 | 594.4473
47 |  | 11 | 21 |  | 396 |  | 565 |  | 1.1649e-06 | 0.33177 | 371.0705 | 597.5258
48 |  | 14 | 18 |  | 500 |  | 601 |  | 5.8708e-06 | 1.0152 | 467.9666 | 570.384
49 |  | 11 | 11 |  | 515 |  | 589 |  | 2.7705e-05 | 2.8628 | 556.0806 | 517.0654
50 |  | 10 | 23 |  | 585 |  | 618 |  | 0.00012242 | 7.4401 | 622.623 | 445.1343
51 |  | 13 | 24 |  | 606 |  | 580 |  | 0.00050653 | 17.8207 | 656.8665 | 363.9184
52 |  | 10 | 46 |  | 657 |  | 576 |  | 0.0019625 | 39.3382 | 652.9705 | 282.5429
53 |  | 12 | 53 |  | 603 |  | 543 |  | 0.0071195 | 80.03 | 611.6099 | 208.3206
54 |  | 16 | 149 |  | 616 |  | 589 |  | 0.024185 | 150.0506 | 539.784 | 145.8638
55 |  | 7 | 259 |  | 606 |  | 515 |  | 0.076926 | 259.2807 | 448.8797 | 96.9907
56 |  | 9 | 467 |  | 605 |  | 501 |  | 0.22912 | 412.9049 | 351.726 | 61.2464
57 |  | 11 | 650 |  | 547 |  | 490 |  | 0.63898 | 606.0066 | 259.683 | 36.7281
58 |  | 13 | 875 |  | 567 |  | 477 |  | 1.6686 | 819.6944 | 180.6538 | 20.9162
59 |  | 15 | 985 |  | 582 |  | 458 |  | 4.0803 | 1021.8191 | 118.4173 | 11.3119
60 |  | 23 | 1210 |  | 540 |  | 440 |  | 9.3424 | 1173.9334 | 73.1388 | 5.8097
61 |  | 26 | 1158 |  | 508 |  | 427 |  | 20.0298 | 1242.969 | 42.5642 | 2.8336
62 |  | 36 | 1237 |  | 549 |  | 412 |  | 40.2106 | 1212.8987 | 23.3403 | 1.3125
63 |  | 72 | 1181 |  | 541 |  | 375 |  | 75.5878 | 1090.7774 | 12.0596 | 0.57732
64 |  | 112 | 1255 |  | 493 |  | 371 |  | 133.0483 | 904.0556 | 5.8712 | 0.24116
65 |  | 200 | 1157 |  | 501 |  | 380 |  | 219.2875 | 690.5601 | 2.6933 | 0.095668
66 |  | 379 | 1076 |  | 437 |  | 364 |  | 338.4271 | 486.1332 | 1.1641 | 0.036041
67 |  | 540 | 1141 |  | 425 |  | 319 |  | 489.0612 | 315.3962 | 0.47411 | 0.012894
68 |  | 729 | 1070 |  | 446 |  | 321 |  | 661.7714 | 188.5841 | 0.18194 | 0.0043807
69 |  | 869 | 1134 |  | 404 |  | 300 |  | 838.4933 | 103.9204 | 0.065788 | 0.0014134
70 |  | 1007 | 1034 |  | 364 |  | 283 |  | 994.8051 | 52.7769 | 0.022414 | 0.00043308
71 |  | 1057 | 1012 |  | 363 |  | 282 |  | 1105.1549 | 24.7022 | 0.0071956 | 0.00012602
72 |  | 1130 | 933 |  | 350 |  | 243 |  | 1149.622 | 10.6555 | 0.0021766 | 3.4822e-05
73 |  | 1135 | 904 |  | 329 |  | 263 |  | 1119.7828 | 4.236 | 0.00062036 | 9.138e-06
74 |  | 1161 | 906 |  | 312 |  | 257 |  | 1021.314 | 1.552 | 0.0001666 | 2.2773e-06
75 |  | 1142 | 886 |  | 328 |  | 243 |  | 872.2311 | 0.52405 | 4.2158e-05 | 5.3895e-07
76 |  | 1116 | 823 |  | 328 |  | 220 |  | 697.5103 | 0.16308 | 1.0052e-05 | 1.2113e-07
77 |  | 996 | 783 |  | 302 |  | 206 |  | 522.2957 | 0.046771 | 2.2583e-06 | 2.5853e-08
78 |  | 1042 | 873 |  | 451 |  | 345 |  | 366.209 | 0.012362 | 4.7805e-07 | 5.2402e-09
79 |  | 956 | 743 |  | 266 |  | 202 |  | 240.4299 | 0.0030114 | 9.5372e-08 | 1.0087e-09
80 |  | 956 | 731 |  | 248 |  | 220 |  | 147.8069 | 0.00067606 | 1.7997e-08 | 1.8438e-10
81 |  | 816 | 634 |  | 254 |  | 185 |  | 85.084 | 0.00013988 | 3.4466e-09 | 3.2007e-11
82 |  | 798 | 614 |  | 244 |  | 196 |  | 45.8616 | 2.6672e-05 | 1.4748e-09 | 5.2766e-12
83 |  | 773 | 587 |  | 232 |  | 175 |  | 23.1475 | 4.6873e-06 | 3.2657e-09 | 8.2609e-13
84 |  | 758 | 602 |  | 239 |  | 179 |  | 10.9409 | 7.5915e-07 | 1.0433e-08 | 1.2284e-13
85 |  | 718 | 527 |  | 245 |  | 145 |  | 4.8456 | 1.1331e-07 | 3.3186e-08 | 1.7483e-14
86 |  | 697 | 567 |  | 210 |  | 153 |  | 2.0188 | 1.5588e-08 | 1.0278e-07 | 3.0731e-15
87 |  | 605 | 551 |  | 222 |  | 151 |  | 0.81241 | 1.9768e-09 | 3.0964e-07 | 4.113e-15
88 |  | 612 | 522 |  | 211 |  | 185 |  | 0.36911 | 2.3608e-10 | 9.0725e-07 | 1.8879e-14
89 |  | 634 | 498 |  | 219 |  | 164 |  | 0.30549 | 6.5148e-11 | 2.5854e-06 | 9.0001e-14
90 |  | 564 | 535 |  | 223 |  | 146 |  | 0.51643 | 2.9586e-10 | 7.1658e-06 | 4.1586e-13
91 |  | 585 | 526 |  | 219 |  | 164 |  | 1.0888 | 2.001e-09 | 1.9317e-05 | 1.8592e-12
92 |  | 590 | 516 |  | 253 |  | 164 |  | 2.3001 | 1.2776e-08 | 5.0647e-05 | 8.0412e-12
93 |  | 562 | 514 |  | 218 |  | 155 |  | 4.6823 | 7.6392e-08 | 0.00012915 | 3.3649e-11
94 |  | 605 | 510 |  | 193 |  | 164 |  | 9.1346 | 4.277e-07 | 0.00032032 | 1.3623e-10
95 |  | 577 | 545 |  | 201 |  | 173 |  | 17.0653 | 2.2422e-06 | 0.00077269 | 5.3359e-10
96 |  | 629 | 563 |  | 232 |  | 167 |  | 30.528 | 1.1007e-05 | 0.0018129 | 2.022e-09
97 |  | 632 | 597 |  | 229 |  | 162 |  | 52.2918 | 5.0595e-05 | 0.0041367 | 7.4133e-09
98 |  | 659 | 582 |  | 231 |  | 146 |  | 85.7667 | 0.00021776 | 0.0091809 | 2.6295e-08
99 |  | 728 | 578 |  | 234 |  | 153 |  | 134.6959 | 0.00087763 | 0.019818 | 9.0238e-08
100 |  | 743 | 620 |  | 236 |  | 169 |  | 202.5539 | 0.003312 | 0.041606 | 2.996e-07
101 |  | 826 | 607 |  | 219 |  | 159 |  | 291.6601 | 0.011703 | 0.084955 | 9.6236e-07
102 |  | 795 | 693 |  | 260 |  | 153 |  | 402.1277 | 0.038724 | 0.16872 | 2.9907e-06
103 |  | 874 | 687 |  | 242 |  | 166 |  | 530.8861 | 0.11998 | 0.32589 | 8.9921e-06
104 |  | 936 | 720 |  | 270 |  | 212 |  | 671.103 | 0.34806 | 0.61224 | 2.6157e-05
105 |  | 931 | 733 |  | 280 |  | 164 |  | 812.3204 | 0.94551 | 1.1187 | 7.3613e-05
106 |  | 1018 | 787 |  | 292 |  | 182 |  | 941.4905 | 2.405 | 1.988 | 0.00020043
107 |  | 1046 | 822 |  | 324 |  | 197 |  | 1044.8524 | 5.7283 | 3.4362 | 0.00052799
108 |  | 1059 | 844 |  | 297 |  | 188 |  | 1110.3103 | 12.7753 | 5.7766 | 0.0013456
109 |  | 1142 | 781 |  | 337 |  | 230 |  | 1129.7548 | 26.679 | 9.445 | 0.0033179
110 |  | 1054 | 813 |  | 338 |  | 234 |  | 1100.7139 | 52.1689 | 15.0198 | 0.007915
111 |  | 1060 | 932 |  | 356 |  | 225 |  | 1026.8691 | 95.5215 | 23.2309 | 0.018267
112 |  | 860 | 980 |  | 359 |  | 214 |  | 917.289 | 163.7712 | 34.9464 | 0.04079
113 |  | 817 | 951 |  | 326 |  | 237 |  | 784.5988 | 262.9183 | 51.1299 | 0.088118
114 |  | 694 | 1017 |  | 392 |  | 239 |  | 642.5983 | 395.2308 | 72.7587 | 0.18417
115 |  | 518 | 1063 |  | 384 |  | 268 |  | 503.9435 | 556.3236 | 100.7002 | 0.37241
116 |  | 392 | 1076 |  | 410 |  | 257 |  | 378.4205 | 733.2483 | 135.554 | 0.72856
117 |  | 273 | 1123 |  | 417 |  | 253 |  | 272.0932 | 904.9433 | 177.4723 | 1.379
118 |  | 231 | 1121 |  | 439 |  | 282 |  | 187.3317 | 1045.7754 | 225.9878 | 2.5251
119 |  | 177 | 1114 |  | 443 |  | 278 |  | 123.4967 | 1131.6244 | 279.8825 | 4.4736
120 |  | 136 | 1153 |  | 468 |  | 302 |  | 77.956 | 1146.6027 | 337.1342 | 7.6678
121 |  | 122 | 1056 |  | 463 |  | 288 |  | 47.1188 | 1087.8534 | 394.9718 | 12.7155
122 |  | 69 | 935 |  | 502 |  | 306 |  | 27.2703 | 966.4393 | 450.0551 | 20.4002
123 |  | 59 | 762 |  | 504 |  | 317 |  | 15.1125 | 803.9436 | 498.7714 | 31.6651
124 |  | 44 | 600 |  | 492 |  | 323 |  | 8.0192 | 626.2148 | 537.6178 | 47.5522
125 |  | 35 | 441 |  | 502 |  | 352 |  | 4.0745 | 456.7388 | 563.6142 | 69.088
126 |  | 15 | 348 |  | 535 |  | 372 |  | 1.9823 | 311.9315 | 574.6806 | 97.1131
127 |  | 13 | 217 |  | 576 |  | 379 |  | 0.92347 | 199.479 | 569.9115 | 132.0677
128 |  | 10 | 176 |  | 530 |  | 366 |  | 0.41193 | 119.4489 | 549.6986 | 173.7635
129 |  | 7 | 125 |  | 506 |  | 417 |  | 0.17594 | 66.9752 | 515.6773 | 221.1889
130 |  | 13 | 85 |  | 495 |  | 408 |  | 0.071956 | 35.1635 | 470.5087 | 272.4028
131 |  | 12 | 63 |  | 482 |  | 423 |  | 0.028178 | 17.2869 | 417.5357 | 324.5658
132 |  | 8 | 50 |  | 368 |  | 445 |  | 0.010566 | 7.9577 | 360.376 | 374.1426
133 |  | 5 | 34 |  | 331 |  | 403 |  | 0.0037937 | 3.4301 | 302.5201 | 417.2677
134 |  | 4 | 29 |  | 216 |  | 483 |  | 0.0013043 | 1.3844 | 246.9955 | 450.2311
135 |  | 11 | 14 |  | 159 |  | 438 |  | 0.00042935 | 0.52322 | 196.1372 | 470.0017
136 |  | 4 | 12 |  | 123 |  | 467 |  | 0.00013534 | 0.18516 | 151.4842 | 474.6861
137 |  | 5 | 6 |  | 109 |  | 457 |  | 4.0848e-05 | 0.061355 | 113.7918 | 463.8277
138 |  | 7 | 12 |  | 69 |  | 445 |  | 1.1805e-05 | 0.019037 | 83.1363 | 438.4803
139 |  | 7 | 9 |  | 58 |  | 414 |  | 3.2668e-06 | 0.005531 | 59.0754 | 401.039
140 |  | 3 | 7 |  | 35 |  | 360 |  | 8.6561e-07 | 0.0015047 | 40.8281 | 354.8675
141 |  | 4 | 12 |  | 23 |  | 289 |  | 2.1962e-07 | 0.0003833 | 27.444 | 303.8009
142 |  | 5 | 6 |  | 19 |  | 247 |  | 5.3356e-08 | 9.1429e-05 | 17.9421 | 251.6258
143 |  | 4 | 7 |  | 20 |  | 181 |  | 1.2412e-08 | 2.0421e-05 | 11.4086 | 201.6342
144 |  | 5 | 6 |  | 10 |  | 136 |  | 2.7646e-09 | 4.2707e-06 | 7.0555 | 156.3207
145 |  | 6 | 2 |  | 8 |  | 130 |  | 5.8965e-10 | 8.3634e-07 | 4.2439 | 117.2498
146 |  | 5 | 7 |  | 8 |  | 90 |  | 1.2042e-10 | 1.5336e-07 | 2.4828 | 85.0845
147 |  | 8 | 5 |  | 5 |  | 69 |  | 2.3548e-11 | 2.6332e-08 | 1.4127 | 59.7355
148 |  | 2 | 7 |  | 5 |  | 65 |  | 4.4092e-12 | 4.2335e-09 | 0.78178 | 40.5749
149 |  | 2 | 7 |  | 6 |  | 35 |  | 7.9053e-13 | 6.3734e-10 | 0.42079 | 26.664
150 |  | 3 | 5 |  | 12 |  | 24 |  | 1.3571e-13 | 8.9843e-11 | 0.22028 | 16.9526
151 |  | 3 | 10 |  | 5 |  | 17 |  | 2.2309e-14 | 1.1859e-11 | 0.11216 | 10.4278
152 |  | 1 | 10 |  | 7 |  | 16 |  | 3.5115e-15 | 1.4657e-12 | 0.055541 | 6.2057
153 |  | 7 | 10 |  | 6 |  | 18 |  | 5.2923e-16 | 1.6963e-13 | 0.026751 | 3.573
154 |  | 6 | 8 |  | 8 |  | 14 |  | 7.6376e-17 | 1.8383e-14 | 0.012531 | 1.9903
155 |  | 5 | 5 |  | 4 |  | 12 |  | 1.0554e-17 | 1.8653e-15 | 0.0057095 | 1.0726
156 |  | 1 | 4 |  | 5 |  | 5 |  | 1.3964e-18 | 1.7724e-16 | 0.00253 | 0.55926
157 |  | 3 | 13 |  | 2 |  | 12 |  | 1.7692e-19 | 1.5769e-17 | 0.0010904 | 0.28211
158 |  | 4 | 3 |  | 6 |  | 9 |  | 2.1463e-20 | 1.3137e-18 | 0.00045709 | 0.13768
159 |  | 2 | 10 |  | 6 |  | 6 |  | 2.4932e-21 | 1.0247e-19 | 0.00018636 | 0.06501
160 |  | 2 | 4 |  | 6 |  | 10 |  | 2.7731e-22 | 7.4851e-21 | 7.3896e-05 | 0.029698
161 |  | 2 | 3 |  | 7 |  | 12 |  | 2.9534e-23 | 5.1195e-22 | 2.8499e-05 | 0.013125
162 |  | 3 | 4 |  | 7 |  | 10 |  | 3.0119e-24 | 3.2787e-23 | 1.069e-05 | 0.0056123
163 |  | 2 | 2 |  | 5 |  | 9 |  | 2.941e-25 | 1.9662e-24 | 3.9001e-06 | 0.0023217
164 |  | 4 | 2 |  | 4 |  | 14 |  | 2.7499e-26 | 1.1041e-25 | 1.3839e-06 | 0.00092924
165 |  | 1 | 3 |  | 7 |  | 15 |  | 2.4619e-27 | 5.8051e-27 | 4.7759e-07 | 0.00035982
166 |  | 4 | 3 |  | 8 |  | 15 |  | 2.1105e-28 | 2.8581e-28 | 1.6031e-07 | 0.0001348
167 |  | 0 | 0 |  | 5 |  | 14 |  | 1.7324e-29 | 1.3176e-29 | 5.2333e-08 | 4.8858e-05
168 |  | 0 | 2 |  | 5 |  | 6 |  | 1.3617e-30 | 5.6877e-31 | 1.6617e-08 | 1.7132e-05
169 |  | 1 | 3 |  | 7 |  | 10 |  | 1.0248e-31 | 2.299e-32 | 5.1316e-09 | 5.8123e-06
170 |  | 0 | 6 |  | 7 |  | 12 |  | 7.3849e-33 | 8.7014e-34 | 1.5413e-09 | 1.9078e-06
171 |  | 1 | 3 |  | 3 |  | 15 |  | 5.0958e-34 | 3.0838e-35 | 4.5026e-10 | 6.0582e-07
172 |  | 0 | 3 |  | 4 |  | 7 |  | 3.3669e-35 | 1.0234e-36 | 1.2793e-10 | 1.8612e-07
173 |  | 3 | 2 |  | 10 |  | 12 |  | 2.1301e-36 | 3.1799e-38 | 3.5353e-11 | 5.5323e-08
174 |  | 0 | 5 |  | 4 |  | 6 |  | 1.2904e-37 | 9.2524e-40 | 9.502e-12 | 1.5909e-08
175 |  | 1 | 5 |  | 3 |  | 13 |  | 7.4847e-39 | 2.5208e-41 | 2.4839e-12 | 4.4263e-09
176 |  | 0 | 1 |  | 4 |  | 15 |  | 4.1571e-40 | 6.4309e-43 | 6.3153e-13 | 1.1915e-09
177 |  | 7 | 3 |  | 5 |  | 11 |  | 2.2109e-41 | 1.5362e-44 | 1.5617e-13 | 3.1028e-10
178 |  | 3 | 4 |  | 10 |  | 11 |  | 1.1258e-42 | 3.4361e-46 | 3.7559e-14 | 7.8176e-11
179 |  | 2 | 3 |  | 7 |  | 13 |  | 5.4897e-44 | 7.1968e-48 | 8.7859e-15 | 1.9056e-11
180 |  | 3 | 7 |  | 5 |  | 10 |  | 2.5631e-45 | 1.4114e-49 | 1.9989e-15 | 4.4941e-12
181 |  | 1 | 6 |  | 3 |  | 12 |  | 1.1459e-46 | 2.5919e-51 | 4.4231e-16 | 1.0254e-12
182 |  | 1 | 4 |  | 6 |  | 15 |  | 4.9052e-48 | 4.4569e-53 | 9.5193e-17 | 2.2635e-13
183 |  | 1 | 7 |  | 6 |  | 6 |  | 2.0106e-49 | 7.1761e-55 | 1.9926e-17 | 4.8341e-14
184 |  | 3 | 6 |  | 6 |  | 12 |  | 7.8913e-51 | 1.0819e-56 | 4.0566e-18 | 9.9885e-15
185 |  | 0 | 6 |  | 5 |  | 9 |  | 2.9657e-52 | 1.5274e-58 | 8.0324e-19 | 1.9967e-15
186 |  | 1 | 3 |  | 5 |  | 11 |  | 1.0672e-53 | 2.019e-60 | 1.5469e-19 | 3.8618e-16
187 |  | 2 | 4 |  | 1 |  | 20 |  | 3.6772e-55 | 2.4991e-62 | 2.8975e-20 | 7.2259e-17
188 |  | 3 | 5 |  | 5 |  | 13 |  | 1.2132e-56 | 2.8966e-64 | 5.2786e-21 | 1.3081e-17
189 |  | 2 | 6 |  | 6 |  | 14 |  | 3.8327e-58 | 3.1435e-66 | 9.3529e-22 | 2.2911e-18
190 |  | 2 | 1 |  | 4 |  | 18 |  | 1.1594e-59 | 3.1945e-68 | 1.6118e-22 | 3.8822e-19
191 |  | 2 | 6 |  | 7 |  | 21 |  | 3.3582e-61 | 3.0397e-70 | 2.7016e-23 | 6.3644e-20
192 |  | 1 | 6 |  | 5 |  | 16 |  | 9.3139e-63 | 2.7084e-72 | 4.404e-24 | 1.0094e-20
193 |  | 0 | 2 |  | 6 |  | 17 |  | 2.4735e-64 | 2.2597e-74 | 6.9827e-25 | 1.549e-21
194 |  | 1 | 2 |  | 2 |  | 14 |  | 6.2897e-66 | 1.7653e-76 | 1.0768e-25 | 2.2996e-22
195 |  | 3 | 1 |  | 4 |  | 20 |  | 1.5315e-67 | 1.2913e-78 | 1.615e-26 | 3.303e-23
196 |  | 0 | 4 |  | 8 |  | 20 |  | 3.5705e-69 | 8.845e-81 | 2.356e-27 | 4.59e-24
197 |  | 2 | 7 |  | 6 |  | 11 |  | 7.9709e-71 | 5.673e-83 | 3.3426e-28 | 6.1709e-25
198 |  | 1 | 6 |  | 10 |  | 18 |  | 1.7039e-72 | 3.407e-85 | 4.6126e-29 | 8.0266e-26
199 |  | 2 | 7 |  | 4 |  | 13 |  | 3.4875e-74 | 1.9159e-87 | 6.1906e-30 | 1.0101e-26
200 |  | 4 | 3 |  | 5 |  | 14 |  | 6.835e-76 | 1.0089e-89 | 8.0809e-31 | 1.2298e-27
201 |  | 4 | 6 |  | 4 |  | 17 |  | 1.2827e-77 | 4.9743e-92 | 1.026e-31 | 1.4486e-28
202 |  | 0 | 0 |  | 0 |  | 0 |  | 2.3049e-79 | 2.2966e-94 | 1.2669e-32 | 1.6508e-29
203 |  | 4 | 6 |  | 6 |  | 12 |  | 3.9657e-81 | 9.9282e-97 | 1.5215e-33 | 1.8201e-30
204 |  | 1 | 0 |  | 11 |  | 11 |  | 6.5336e-83 | 4.0189e-99 | 1.7772e-34 | 1.9415e-31
205 |  | 1 | 1 |  | 8 |  | 27 |  | 1.0307e-84 | 1.5233e-101 | 2.019e-35 | 2.0036e-32
206 |  | 154 | 154 |  | 158 |  | 161 |  | 1.5569e-86 | 5.4067e-104 | 2.231e-36 | 2.0005e-33
207 |  | 3 | 4 |  | 5 |  | 16 |  | 2.2519e-88 | 1.7968e-106 | 2.3976e-37 | 1.9325e-34
208 |  | 3 | 4 |  | 8 |  | 16 |  | 3.1187e-90 | 5.5916e-109 | 2.5061e-38 | 1.8061e-35
209 |  | 3 | 4 |  | 3 |  | 12 |  | 4.1357e-92 | 1.6293e-111 | 2.5477e-39 | 1.633e-36
210 |  | 1 | 8 |  | 5 |  | 17 |  | 5.2515e-94 | 4.4456e-114 | 2.5191e-40 | 1.4285e-37
211 |  | 1 | 6 |  | 1 |  | 9 |  | 6.3851e-96 | 1.1358e-116 | 2.4225e-41 | 1.209e-38
212 |  | 2 | 2 |  | 3 |  | 16 |  | 7.4336e-98 | 2.7172e-119 | 2.2658e-42 | 9.8997e-40
213 |  | 2 | 3 |  | 0 |  | 4 |  | 8.2867e-100 | 6.0866e-122 | 2.0612e-43 | 7.8425e-41
214 |  | 3 | 2 |  | 4 |  | 2 |  | 8.8454e-102 | 1.2767e-124 | 1.8237e-44 | 6.0107e-42
215 |  | 0 | 2 |  | 2 |  | 2 |  | 9.0406e-104 | 2.5075e-127 | 1.5694e-45 | 4.457e-43
216 |  | 2 | 2 |  | 2 |  | 5 |  | 8.8478e-106 | 4.6115e-130 | 1.3135e-46 | 3.1974e-44
217 |  | 0 | 0 |  | 1 |  | 9 |  | 8.2912e-108 | 7.9413e-133 | 1.0693e-47 | 2.2192e-45
218 |  | 1 | 2 |  | 3 |  | 7 |  | 7.4397e-110 | 1.2805e-135 | 8.4658e-49 | 1.4902e-46
219 |  | 0 | 3 |  | 2 |  | 5 |  | 6.392e-112 | 1.9334e-138 | 6.5191e-50 | 9.6814e-48
220 |  | 0 | 0 |  | 1 |  | 2 |  | 5.2586e-114 | 2.7335e-141 | 4.8825e-51 | 6.0852e-49
221 |  | 1 | 2 |  | 2 |  | 3 |  | 4.1425e-116 | 3.6187e-144 | 3.5566e-52 | 3.7004e-50
222 |  | 1 | 0 |  | 3 |  | 4 |  | 3.1246e-118 | 4.4857e-147 | 2.5197e-53 | 2.177e-51
223 |  | 1 | 0 |  | 3 |  | 5 |  | 2.2567e-120 | 5.2067e-150 | 1.7363e-54 | 1.2392e-52
224 |  | 1 | 0 |  | 5 |  | 4 |  | 1.5607e-122 | 5.659e-153 | 1.1636e-55 | 6.8239e-54
225 |  | 1 | 0 |  | 1 |  | 1 |  | 1.0335e-124 | 5.7592e-156 | 7.5849e-57 | 3.6356e-55
226 |  | 0 | 5 |  | 4 |  | 3 |  | 6.5531e-127 | 5.4882e-159 | 4.8087e-58 | 1.874e-56
227 |  | 0 | 1 |  | 3 |  | 6 |  | 3.9786e-129 | 4.8972e-162 | 2.965e-59 | 9.3456e-58
228 |  | 0 | 0 |  | 3 |  | 4 |  | 2.313e-131 | 4.0917e-165 | 1.7782e-60 | 4.509e-59
229 |  | 2 | 3 |  | 3 |  | 5 |  | 1.2875e-133 | 3.2012e-168 | 1.0372e-61 | 2.1048e-60
230 |  | 0 | 1 |  | 2 |  | 4 |  | 6.8628e-136 | 2.3452e-171 | 5.884e-63 | 9.5054e-62
231 |  | 0 | 1 |  | 2 |  | 2 |  | 3.5026e-138 | 1.6087e-174 | 3.2466e-64 | 4.1531e-63
232 |  | 0 | 1 |  | 4 |  | 3 |  | 1.7117e-140 | 1.0333e-177 | 1.7423e-65 | 1.7556e-64
233 |  | 0 | 0 |  | 3 |  | 3 |  | 8.0099e-143 | 6.2147e-181 | 9.0936e-67 | 7.1799e-66
234 |  | 0 | 0 |  | 0 |  | 2 |  | 3.5889e-145 | 3.5e-184 | 4.6163e-68 | 2.8409e-67
235 |  | 0 | 2 |  | 1 |  | 3 |  | 1.5398e-147 | 1.8457e-187 | 2.2793e-69 | 1.0875e-68
236 |  | 0 | 0 |  | 1 |  | 4 |  | 6.3256e-150 | 9.1137e-191 | 1.0945e-70 | 4.0277e-70
237 |  | 1 | 0 |  | 3 |  | 3 |  | 2.4882e-152 | 4.2138e-194 | 5.1121e-72 | 1.4432e-71
238 |  | 0 | 1 |  | 1 |  | 3 |  | 9.3721e-155 | 1.8244e-197 | 2.3222e-73 | 5.003e-73
239 |  | 1 | 1 |  | 2 |  | 4 |  | 3.3801e-157 | 7.3958e-201 | 1.026e-74 | 1.678e-74
240 |  | 0 | 1 |  | 0 |  | 2 |  | 1.1673e-159 | 2.8074e-204 | 4.4089e-76 | 5.4448e-76
241 |  | 1 | 1 |  | 0 |  | 3 |  | 3.8598e-162 | 9.9789e-208 | 1.8426e-77 | 1.7093e-77
242 |  | 0 | 1 |  | 1 |  | 3 |  | 1.2221e-164 | 3.3212e-211 | 7.4902e-79 | 5.1916e-79
243 |  | 1 | 1 |  | 1 |  | 3 |  | 3.7052e-167 | 1.0351e-214 | 2.9613e-80 | 1.5255e-80
244 |  | 0 | 0 |  | 1 |  | 3 |  | 1.0756e-169 | 3.0205e-218 | 1.1387e-81 | 4.337e-82
245 |  | 0 | 2 |  | 5 |  | 1 |  | 2.9899e-172 | 8.2534e-222 | 4.2586e-83 | 1.1929e-83
246 |  | 0 | 0 |  | 2 |  | 3 |  | 7.9579e-175 | 2.1117e-225 | 1.549e-84 | 3.1744e-85
247 |  | 0 | 1 |  | 2 |  | 0 |  | 2.0281e-177 | 5.0593e-229 | 5.4802e-86 | 8.1725e-87
248 |  | 2 | 3 |  | 4 |  | 2 |  | 4.9493e-180 | 1.135e-232 | 1.8857e-87 | 2.0356e-88
249 |  | 1 | 0 |  | 1 |  | 1 |  | 1.1565e-182 | 2.3841e-236 | 6.3105e-89 | 4.9055e-90
250 |  | 0 | 0 |  | 1 |  | 3 |  | 2.5875e-185 | 4.6895e-240 | 2.054e-90 | 1.1437e-91
251 |  | 0 | 3 |  | 1 |  | 6 |  | 5.5435e-188 | 8.637e-244 | 6.5026e-92 | 2.5798e-93
252 |  | 0 | 1 |  | 0 |  | 6 |  | 1.1372e-190 | 1.4895e-247 | 2.0022e-93 | 5.6298e-95
253 |  | 1 | 1 |  | 4 |  | 0 |  | 2.2337e-193 | 2.4054e-251 | 5.9958e-95 | 1.1886e-96
254 |  | 2 | 0 |  | 1 |  | 2 |  | 4.2013e-196 | 3.6371e-255 | 1.7464e-96 | 2.428e-98
255 |  | 1 | 1 |  | 2 |  | 4 |  | 7.5663e-199 | 5.1498e-259 | 4.9472e-98 | 4.7983e-100
256 |  | 0 | 2 |  | 2 |  | 4 |  | 1.3048e-201 | 6.8275e-263 | 1.3631e-99 | 9.1744e-102
257 |  | 1 | 1 |  | 1 |  | 2 |  | 2.1544e-204 | 8.4758e-267 | 3.6527e-101 | 1.6971e-103
258 |  | 0 | 0 |  | 0 |  | 3 |  | 3.4063e-207 | 9.8525e-271 | 9.5202e-103 | 3.0372e-105
259 |  | 0 | 0 |  | 1 |  | 0 |  | 5.1569e-210 | 1.0724e-274 | 2.4133e-104 | 5.2589e-107
260 |  | 0 | 1 |  | 1 |  | 4 |  | 7.4755e-213 | 1.093e-278 | 5.95e-106 | 8.8095e-109
261 |  | 1 | 1 |  | 2 |  | 3 |  | 1.0376e-215 | 1.0431e-282 | 1.4268e-107 | 1.4278e-110
262 |  | 0 | 0 |  | 0 |  | 1 |  | 1.3791e-218 | 9.3213e-287 | 3.3276e-109 | 2.2387e-112
263 |  | 1 | 1 |  | 0 |  | 1 |  | 1.7551e-221 | 7.7997e-291 | 7.5482e-111 | 3.3962e-114
264 |  | 2 | 0 |  | 3 |  | 3 |  | 2.1387e-224 | 6.1112e-295 | 1.6653e-112 | 4.9845e-116
265 |  | 1 | 0 |  | 1 |  | 0 |  | 2.4955e-227 | 4.4835e-299 | 3.5734e-114 | 7.0777e-118
266 |  | 0 | 0 |  | 2 |  | 3 |  | 2.7881e-230 | 3.0801e-303 | 7.4577e-116 | 9.7232e-120
267 |  | 0 | 2 |  | 0 |  | 1 |  | 2.9828e-233 | 1.9813e-307 | 1.5138e-117 | 1.2923e-121
268 |  | 0 | 0 |  | 1 |  | 2 |  | 3.0554e-236 | 0 | 2.9885e-119 | 1.6618e-123
269 |  | 1 | 1 |  | 0 |  | 0 |  | 2.9969e-239 | 0 | 5.7383e-121 | 2.0674e-125
270 |  | 1 | 0 |  | 0 |  | 1 |  | 2.8147e-242 | 0 | 1.0716e-122 | 2.4884e-127
271 |  | 1 | 0 |  | 0 |  | 1 |  | 2.5313e-245 | 0 | 1.9465e-124 | 2.8976e-129
272 |  | 0 | 0 |  | 1 |  | 2 |  | 2.1797e-248 | 0 | 3.4387e-126 | 3.2645e-131
273 |  | 0 | 0 |  | 0 |  | 1 |  | 1.7972e-251 | 0 | 5.9084e-128 | 3.5583e-133
274 |  | 0 | 0 |  | 0 |  | 3 |  | 1.4189e-254 | 0 | 9.8737e-130 | 3.7524e-135
275 |  | 0 | 0 |  | 0 |  | 1 |  | 1.0727e-257 | 0 | 1.6048e-131 | 3.8283e-137
276 |  | 0 | 0 |  | 0 |  | 3 |  | 7.7648e-261 | 0 | 2.537e-133 | 3.7788e-139
277 |  | 0 | 0 |  | 2 |  | 5 |  | 5.382e-264 | 0 | 3.9006e-135 | 3.6087e-141
278 |  | 1 | 0 |  | 0 |  | 1 |  | 3.5719e-267 | 0 | 5.833e-137 | 3.3342e-143
279 |  | 0 | 0 |  | 0 |  | 1 |  | 2.2699e-270 | 0 | 8.4837e-139 | 2.9803e-145
280 |  | 0 | 2 |  | 2 |  | 0 |  | 1.3812e-273 | 0 | 1.2001e-140 | 2.5774e-147
281 |  | 0 | 0 |  | 0 |  | 0 |  | 8.0479e-277 | 0 | 1.6511e-142 | 2.1565e-149
282 |  | 0 | 0 |  | 0 |  | 0 |  | 4.49e-280 | 0 | 2.2094e-144 | 1.7457e-151
283 |  | 0 | 0 |  | 0 |  | 0 |  | 2.3986e-283 | 0 | 2.8755e-146 | 1.3671e-153
284 |  | 0 | 0 |  | 0 |  | 0 |  | 1.2269e-286 | 0 | 3.6399e-148 | 1.0359e-155
285 |  | 0 | 0 |  | 0 |  | 0 |  | 6.0094e-290 | 0 | 4.4813e-150 | 7.5935e-158
286 |  | 0 | 0 |  | 0 |  | 0 |  | 2.8183e-293 | 0 | 5.366e-152 | 5.3855e-160
287 |  | 0 | 0 |  | 0 |  | 0 |  | 1.2656e-296 | 0 | 6.2493e-154 | 3.6953e-162
288 |  | 0 | 0 |  | 0 |  | 0 |  | 5.4421e-300 | 0 | 7.0787e-156 | 2.4531e-164